## Set points
FO |  |  | Upconcentration part |  |  | FO Membrane properties |  |  | RO
Feed tank volume | 200 | L | Used setup | RO |  | FO element type | HFFO14 |  | Operational mode | permeate recirculation
Draw tank volume | 200 | L | Membrane element |  |  | membrane active area | 13.8 | m^2
Feed tank concentration | Textile waste water |  | Feed tank volume |  | l | Placement of element | horizontal
Draw tank concentration | 0.7 | M NaCl | Feed tank concentration
Feed recovery | 90 | % | Start time
Feed temperature | 30.6286 | ˚C | End time
Draw temperature | 32.0298 | ˚C

## FO permeate flux
Jw | Jw | SD
|  |  | Time | Jw | SD
8.0289 | 8.0289 | 0.048938 | 0.49668 | 8.0289 | 0.048938
|  |  | 8.0025 | 8.1305 | 0.067526
7.9744 |  |  | 20.4532 | 8.0133 | 0.070645
8.0058 |  |  | 30.4599 | 7.3446 | 0.42504
8.0058 |  |  | 44.4674 | 7.809 | 0.2437
8.0865 |  |  | 59.4749 | 7.8183 | 0.21366
|  |  | 71.9799 | 6.4894 | 0.21876
8.0888 |  |  | 91.4907 | 4.8871 | 0.31357
8.0426 |  |  | 101.4924 | 3.6952 | 0.32612
|  |  | 107.4982 | 6.0471 | 0.23301
8.0879 |  |  | 115.504 | 4.8738 | 0.14647
8.0964
8.1049
8.122
8.1305 | 8.1305 | 0.067526
8.1391
8.1476
8.0865
8.0703
8.0426
8.0879
8.0964
8.1049
8.1013
8.1048
8.1083
8.1153
8.1188
8.1223
8.1293
7.8163
8.0002
7.982
8.0311
8.0013
8.0133 | 8.0133 | 0.070645
8.0289
8.0272
7.9744
8.0058
8.0058
8.0865
8.0703
8.0888
8.0426
8.0988
8.0842
7.9969
7.7753
7.7768
6.9991
7.9286
7.5293
7.1113
7.4243
7.3446 | 7.3446 | 0.42504
7.3591
7.3078
8.3795
8.1439
8.4931
8.2854
8.2914
8.4171
8.0015
7.8732
7.9532
7.9371
7.9514
7.7591
7.8638
7.884
7.9809
8.0069
7.9328
7.9717
7.9647
7.809 | 7.809 | 0.2437
7.7357
7.7593
7.584
7.4301
7.4946
7.5694
7.7806
7.6075
7.7057
7.2994
7.3542
7.3434
7.3179
7.0817
7.9824
8.4906
7.6686
7.7422
8.0553
8.1528
8.1661
8.0373
7.8183 | 7.8183 | 0.21366
7.7935
7.9779
8.0363
8.082
8.0018
7.9585
7.8641
7.8416
8.0738
7.7093
7.5227
8.0994
7.1956
7.5172
7.2026
6.994
7.1519
6.9854
6.9335
6.9637
6.9545
6.7164
6.6461
6.7744
6.4894 | 6.4894 | 0.16319
6.734
6.798
6.461
6.7404
6.655
6.5523
6.5825
6.3825
6.6236
6.2116
6.6392
6.0657
6.4168
5.9883
6.4737
6.6979
5.9188
6.5024
6.221
6.5632
6.1422
6.0388
5.3775
5.721
6.0137
6.2339
5.9353
6.1453
5.4319
5.6078
5.3077
4.9478
5.7151
5.0571
4.8259
4.9907
4.7881
5.6426
4.8871 | 4.8871 | 0.3173
4.9514
4.6494
4.7005
4.8583
5.0017
4.4555
4.471
4.6215
4.3037
4.5082
4.4594
4.2797
4.3425
4.2684
4.3311
4.2429
4.0847
4.1618
3.6952 | 3.6952 | 0.32612
4.5807
4.939
4.1278
4.2454
4.6276
5.1651
5.7399
5.9715
6.4025
6.3251
6.1831
6.0471 | 6.0471 | 0.48866
6.0114
6.1
6.1059
5.7983
5.6543
5.4623
5.6352
5.3404
5.2382
5.1995 | 5.1995 | 0.23406
5.1396
5.0044
4.9412
4.9081
4.8563
4.8738 | 4.8738 | 0.14647
5.2029 | 5.2029
4.7761 | 4.7761

## Sample analysis
Sample no. | Sample type | pH | Conductivity [µS/cm] | Osmolarity [osmol/kg] | TDS [mg/L] | TOC [mg/L] | TN [mg/L] | recovery
6801 | Feed in 25% | 7.36 | 4316 | 0.069 | 3362 | 102.6309 | 55.0381 | 75%
6801b | [7 empty] | 80%
6802 | Feed in 50% | 7.5 | 5890 | 0.096 | 4727 | 149.4066 | 59.1764 | 85%
6802b | [7 empty] | 90%
6803 | Feed in 75% | 7.62 | 10540 | 0.177 | 9001 | 251.9735 | 68.627
6803b
6804 | Feed in 80% | 7.64 | 12580 | 0.318 | 10960 | 321.9471 | 73.5284
6805 | Feed in 85% | 7.66 | 15160 | 0.279 | 13670 | 402.045 | 79.4684
6806 | Feed in 90% | 7.75 | 20220 | 0.372 | 19150 | 550.3362 | 89.2705
6807 | Feed out 25% | 7.58 | 7072 | 0.116 | 5765 | 183.6143 | 63.9811
6807b
6808 | Feed out 50% | 7.62 | 8567 | 0.14 | 7146 | 210.6812 | 65.3932
6808b
6809 | Feed out 75% | 7.66 | 14790 | 0.261 | 13280 | 384.0416 | 78.0321
6809b
6810 | Feed out 80% | 7.64 | 16960 | 0.302 | 15520 | 440.0531 | 81.9213
6811 | Feed out 85% | 7.68 | 19850 | 0.352 | 18740 | 544.6362 | 89.444
6812 | Feed out 90% | 7.71 | 23230 | 0.474 | 22520 | 673.4332 | 97.8467
6813 | Draw out 25% | 6.37 | 42010 | 0.825 | 45230 | 1.813 | 4.3095
6814 | Draw out 50% | 6.31 | 40780 | 0.794 | 43640 | 1.6211 | 4.8629
6814
6815 | Draw out 75% | 6.47 | 44740 | 0.88 | 48650 | 2.6572 | 5.3348
6816 | Draw out 80% | 6.64 | 46560 | 0.945 | 51020 | 2.2507 | 5.2836
6817 | Draw out 85% | 6.53 | 41730 | 0.809 | 44870 | 1.6701 | 6.0542
6818 | Draw out 90% | 6.55 | 44810 | 0.884 | 48590 | 1.8113 | 5.9918
| Water recovery (%) | Conductivity (mS/cm) | Measurement error
| 25 | 42.01 | 0.51
| 50 | 40.78 | 0.4
| 75 | 44.74 | 0.34
| 80 | 46.56 | 0.57
| 85 | 41.73 | 0.337
| 90 | 44.81 | 0.31

## UV-VIS
Wavelength | Initial DS | DS after short test | DS after long test | RO permeate
220 | 0.9174 | 0.9366 | 0.9744 | 0.9494
225 | 0.572 | 0.5875 | 0.6128 | 0.6085
230 | 0.463 | 0.4796 | 0.4916 | 0.502
235 | 0.4304 | 0.4493 | 0.448 | 0.4734
240 | 0.4114 | 0.4314 | 0.4253 | 0.4553
245 | 0.3855 | 0.4049 | 0.3987 | 0.4263
250 | 0.3503 | 0.367 | 0.364 | 0.384
255 | 0.3008 | 0.3131 | 0.3159 | 0.3231
260 | 0.2574 | 0.2666 | 0.2729 | 0.2746
265 | 0.2168 | 0.224 | 0.232 | 0.2284
270 | 0.1873 | 0.193 | 0.2018 | 0.1963
275 | 0.1674 | 0.1722 | 0.1805 | 0.1746
280 | 0.1502 | 0.1542 | 0.1615 | 0.1569
285 | 0.1382 | 0.1418 | 0.1477 | 0.1454
290 | 0.1269 | 0.1299 | 0.1348 | 0.1342
295 | 0.1169 | 0.1192 | 0.1234 | 0.1244
300 | 0.1099 | 0.1117 | 0.1154 | 0.1171
305 | 0.1035 | 0.1049 | 0.1082 | 0.1108
310 | 0.0985 | 0.0996 | 0.1027 | 0.1058
315 | 0.0935 | 0.0942 | 0.0974 | 0.1008
320 | 0.0888 | 0.0891 | 0.0923 | 0.0958
325 | 0.0837 | 0.0838 | 0.0869 | 0.0909
330 | 0.0793 | 0.0793 | 0.0824 | 0.0862
335 | 0.0746 | 0.0745 | 0.0774 | 0.0816
340 | 0.0706 | 0.0704 | 0.0733 | 0.0774
345 | 0.0671 | 0.0668 | 0.0696 | 0.074
350 | 0.065 | 0.0646 | 0.0674 | 0.0719
355 | 0.0631 | 0.0625 | 0.0653 | 0.07
360 | 0.0615 | 0.0611 | 0.0637 | 0.0686
365 | 0.0606 | 0.0601 | 0.0628 | 0.0676
370 | 0.0596 | 0.0591 | 0.0617 | 0.0665
375 | 0.0585 | 0.058 | 0.0605 | 0.0654
380 | 0.0573 | 0.0568 | 0.0592 | 0.065
385 | 0.0565 | 0.0559 | 0.0583 | 0.0641
390 | 0.0557 | 0.0552 | 0.0575 | 0.0634
395 | 0.0551 | 0.0546 | 0.0568 | 0.0628
400 | 0.0546 | 0.054 | 0.0562 | 0.0624
405 | 0.054 | 0.0534 | 0.0555 | 0.062
410 | 0.0535 | 0.0529 | 0.0549 | 0.0613
415 | 0.053 | 0.0524 | 0.0544 | 0.0608
420 | 0.0525 | 0.052 | 0.054 | 0.0602
425 | 0.0521 | 0.0516 | 0.0535 | 0.0599
430 | 0.0517 | 0.0512 | 0.053 | 0.0596
435 | 0.0514 | 0.0509 | 0.0527 | 0.0593
440 | 0.051 | 0.0505 | 0.0523 | 0.0588
445 | 0.0506 | 0.0501 | 0.0519 | 0.0585
450 | 0.0503 | 0.0498 | 0.0516 | 0.0582
455 | 0.0499 | 0.0495 | 0.0513 | 0.0579
460 | 0.0496 | 0.0492 | 0.0509 | 0.0575
465 | 0.0495 | 0.0491 | 0.0507 | 0.0572
470 | 0.0492 | 0.0489 | 0.0505 | 0.057
475 | 0.049 | 0.0487 | 0.0502 | 0.0567
480 | 0.0488 | 0.0485 | 0.05 | 0.0565
485 | 0.0486 | 0.0483 | 0.0498 | 0.0562
490 | 0.0485 | 0.0481 | 0.0497 | 0.0561
495 | 0.0483 | 0.0479 | 0.0494 | 0.0558
500 | 0.0481 | 0.0477 | 0.0492 | 0.0556
505 | 0.0479 | 0.0476 | 0.049 | 0.0554
510 | 0.0477 | 0.0475 | 0.0489 | 0.0552
515 | 0.0476 | 0.0473 | 0.0488 | 0.0551
520 | 0.0475 | 0.0472 | 0.0486 | 0.0548
525 | 0.0472 | 0.047 | 0.0484 | 0.0545
530 | 0.0472 | 0.047 | 0.0484 | 0.0546
535 | 0.047 | 0.0468 | 0.0482 | 0.0543
540 | 0.0468 | 0.0466 | 0.0479 | 0.054
545 | 0.0468 | 0.0466 | 0.0479 | 0.054
550 | 0.0466 | 0.0464 | 0.0478 | 0.0539
555 | 0.0464 | 0.0462 | 0.0475 | 0.0538
560 | 0.0464 | 0.0463 | 0.0475 | 0.0536
565 | 0.0463 | 0.0461 | 0.0473 | 0.0533
570 | 0.0462 | 0.046 | 0.0472 | 0.0532
575 | 0.0462 | 0.046 | 0.0471 | 0.0532
580 | 0.0462 | 0.046 | 0.0471 | 0.0531
585 | 0.0461 | 0.046 | 0.047 | 0.053
590 | 0.0462 | 0.046 | 0.0472 | 0.053
595 | 0.0462 | 0.0461 | 0.0476 | 0.053
600 | 0.0463 | 0.0462 | 0.0476 | 0.0532
605 | 0.0463 | 0.0462 | 0.0473 | 0.0532
610 | 0.0464 | 0.0463 | 0.0473 | 0.0532
615 | 0.0463 | 0.0463 | 0.0471 | 0.0531
620 | 0.0469 | 0.0468 | 0.0477 | 0.0534
625 | 0.0462 | 0.0467 | 0.047 | 0.0529
630 | 0.0462 | 0.0469 | 0.0469 | 0.053
635 | 0.0468 | 0.0469 | 0.0476 | 0.053
640 | 0.0464 | 0.0464 | 0.047 | 0.0532
645 | 0.0464 | 0.0463 | 0.0471 | 0.053
650 | 0.0463 | 0.0463 | 0.0473 | 0.0528
655 | 0.0464 | 0.0464 | 0.0471 | 0.0528
660 | 0.0463 | 0.0461 | 0.0469 | 0.0528
665 | 0.0464 | 0.0464 | 0.047 | 0.0528
670 | 0.0467 | 0.0467 | 0.0475 | 0.0527
675 | 0.0465 | 0.0463 | 0.0469 | 0.0526
680 | 0.0468 | 0.0466 | 0.0472 | 0.053
685 | 0.0464 | 0.0464 | 0.0469 | 0.0527
690 | 0.0465 | 0.0465 | 0.0469 | 0.0529
695 | 0.0465 | 0.0465 | 0.0472 | 0.0529
700 | 0.0469 | 0.047 | 0.0479 | 0.0536
705 | 0.0473 | 0.0473 | 0.0479 | 0.0535
710 | 0.0477 | 0.0477 | 0.0482 | 0.0541
715 | 0.0484 | 0.0484 | 0.0489 | 0.0546
720 | 0.0497 | 0.0497 | 0.0502 | 0.0557
725 | 0.0511 | 0.0512 | 0.0516 | 0.0571
730 | 0.0524 | 0.0532 | 0.0536 | 0.0593
735 | 0.0552 | 0.0556 | 0.056 | 0.0613
740 | 0.0561 | 0.0563 | 0.0568 | 0.0621
745 | 0.0565 | 0.0567 | 0.0572 | 0.0625
750 | 0.0567 | 0.0568 | 0.0574 | 0.0624
755 | 0.0567 | 0.0567 | 0.0573 | 0.0625
760 | 0.0566 | 0.0565 | 0.057 | 0.0627
765 | 0.0564 | 0.0563 | 0.0569 | 0.0622
770 | 0.056 | 0.0562 | 0.0567 | 0.0617
775 | 0.0556 | 0.0556 | 0.056 | 0.0613
780 | 0.0552 | 0.0552 | 0.0557 | 0.0607
785 | 0.0546 | 0.0546 | 0.0549 | 0.0604
790 | 0.054 | 0.0539 | 0.0543 | 0.0599
795 | 0.0535 | 0.0535 | 0.0538 | 0.0593
800 | 0.053 | 0.053 | 0.0533 | 0.0588
805 | 0.0529 | 0.053 | 0.0532 | 0.0584
810 | 0.0529 | 0.053 | 0.0531 | 0.0586
815 | 0.0529 | 0.0531 | 0.0533 | 0.0587
820 | 0.0535 | 0.0536 | 0.054 | 0.0592
825 | 0.0553 | 0.0555 | 0.0559 | 0.0611
830 | 0.0574 | 0.0579 | 0.0583 | 0.0634
835 | 0.0599 | 0.0602 | 0.0606 | 0.0656
840 | 0.0605 | 0.0606 | 0.0613 | 0.0662
845 | 0.0609 | 0.0611 | 0.0619 | 0.0665
850 | 0.0619 | 0.0621 | 0.0624 | 0.0672
855 | 0.0622 | 0.0625 | 0.0627 | 0.068
860 | 0.063 | 0.063 | 0.0635 | 0.0682
865 | 0.0636 | 0.0636 | 0.0641 | 0.0689
870 | 0.064 | 0.0643 | 0.0646 | 0.0699
875 | 0.0654 | 0.0655 | 0.0659 | 0.0712
880 | 0.0668 | 0.0669 | 0.0671 | 0.0725
885 | 0.0685 | 0.0688 | 0.0689 | 0.0745
890 | 0.0704 | 0.0706 | 0.0707 | 0.0763
895 | 0.0729 | 0.0726 | 0.0727 | 0.0789
900 | 0.0755 | 0.0757 | 0.076 | 0.0813
905 | 0.0785 | 0.0787 | 0.079 | 0.0849
910 | 0.0817 | 0.0822 | 0.0823 | 0.0875
915 | 0.0851 | 0.0862 | 0.0858 | 0.0914
920 | 0.0893 | 0.09 | 0.0901 | 0.0954
925 | 0.0951 | 0.0959 | 0.0962 | 0.1011
930 | 0.1035 | 0.1048 | 0.1052 | 0.11
935 | 0.1155 | 0.1172 | 0.1177 | 0.1218
940 | 0.1291 | 0.1313 | 0.132 | 0.1358
945 | 0.1465 | 0.1494 | 0.1502 | 0.1534
950 | 0.1719 | 0.1759 | 0.1766 | 0.1802
955 | 0.2064 | 0.2113 | 0.2122 | 0.2156
960 | 0.2332 | 0.2383 | 0.2403 | 0.2404
965 | 0.2443 | 0.2488 | 0.2508 | 0.2499
970 | 0.2496 | 0.2534 | 0.2553 | 0.2541
975 | 0.2516 | 0.2545 | 0.2564 | 0.256
980 | 0.2502 | 0.2526 | 0.2543 | 0.2547
985 | 0.2451 | 0.2465 | 0.2476 | 0.249
990 | 0.2362 | 0.2372 | 0.2382 | 0.2406
995 | 0.2291 | 0.2297 | 0.2302 | 0.2341
1000 | 0.2174 | 0.2175 | 0.2174 | 0.2225